## About
DCpUC Decommissioning Cost per Unit Capacity
Sources: | crude, natural gas, heavy fuel oil, petroleum diesel
KAPSARC
2017
Restructuring Saudi Arabia's Power Generation Sector: Model-Based Insights
file:///C:/Users/Meghan/Downloads/KS-2017-DP025-Restructuring-Saudi-Arabia%E2%80%99s-Power-Generation-Sector-Model-Based-Insights.pdf
Page 18, Table 5
Also see Calculations of variable elec/CCaMC
wind, solar
Resources for the Future
2017
Decommissioning US Power Plants: Decisions, Costs, and Key Issues
https://www.rff.org/documents/578/RFF20Rpt20Decommissioning20Power20Plants.pdf
Page 3, Table 1
nuclear
Callan Institute
2017
2017 Nuclear Decommissioning Funding Study
https://www.callan.com/wp-content/uploads/2017/09/Callan-2017-NDT-Survey.pdf
Pages 5-6
Notes
The source for KSA plants does not specify the currency year used, but the table used is baed off 2015 data.
Therefore, we assume costs are reported in 2015 dollars.
U.S. data is used for costs for solar, wind, and nuclear, due to lack of data availability for KSA.
For other plant types not used in the KSA EPS, the value for crude is arbitrarily used.
Currency Conversion
0.95661 | 2012 USD per 2016 USD
0.96868 | 2012 USD per 2015 USD
1.1756 | 2012 USD per 2005 USD

## KSA data
see calculations in variable elec/CCaMC, "KEM Variable and Fixed O&M tab"
| 2012 USD/MW | crude | natural gas nonpeaker | heavy fuel oil | diesel | natural gas peaker
Gas turbine | 147239.5988 | 13054.2 | 0 | 1400 | 7853.74 | 11199.42
Combined cycle gas turbine | 159832.4593 | 2748 | 12225.2 | 0 | 0 | 0
Steam turbine | 244107.756 | 3052 | 13818 | 19459.9 | 353 | 0

## U.S. Data
| thousand 2016 USD/MW | 2012 USD/MW
offshore wind | 212 | 202802.1183
coal | 117 | 111923.8106
concentrated solar power | 94 | 89921.694
solar photovoltaic | 57 | 54526.9846
onshore wind | 51 | 48787.302
petroleum | 31 | 29655.0267
natural gas | 15 | 14349.2065
Callan Data | 2016 USD/kW | 2012 USD/MW
investor-owned nuclear | 847 | 810251.8593
public utility-owned nuclear | 702 | 671542.8633
nuclear (average) | 774.5 | 740897.3613

## DCpUC
Electricity Source | Cost per MW
hard coal | 164755.42
natural gas nonpeaker | 204547.2428
nuclear | 740897.3613
hydro | 164755.42
onshore wind | 48787.302
solar PV | 54526.9846
solar thermal | 89921.694
biomass | 164755.42
geothermal | 164755.42
petroleum | 151406.2301
natural gas peaker | 147239.5988
lignite | 164755.42
offshore wind | 202802.1183
crude oil | 164755.42
heavy or residual fuel oil | 237606.5062
municipal solid waste | 164755.42